OT Protocol Support
Seth Grover, Malcolm developer • Cybersecurity R&D • Idaho National Lab
[Speaker Notes: Network traffic analysis is all about getting to the “important stuff” as quickly as possible. There are many open source and proprietary tools available for analyzing raw packet capture (PCAP) files: WireShark, Network Miner, GrassMarlin, etc. Analyzing PCAP sets that are large (or from complex networks) with many of these tools is difficult, as often they at best struggle and at worst outright fail to handle packet captures larger than a few hundred megabytes. Today we’re going to talk about the open source network traffic analysis tool suite Malcolm, developed at the Idaho National Lab with support from the US Department of Homeland Security. You may be familiar with some or all of the open source tools which make up Malcolm: all are already available and in general use. What Malcolm provides a is a framework of interconnectivity which makes it greater than the sum of its parts, streamlining network traffic analysis and bringing that “important stuff” to the foreground as painlessly as possible. This morning we’re going to talk about using Malcolm to gain insight into both link-layer and application-layer network traffic.]

---
Network Observations
General Malcolm Information
- CISA Malcolm Documentation and Source Code
  - https://github.com/cisagov/Malcolm
  - Slides in ./Malcolm/docs/slides/
- Malcolm Network Traffic Analysis Tool Suite YouTube channel
  - https://www.youtube.com/c/MalcolmNetworkTrafficAnalysisToolSuite
  - See “Network Traffic Analysis with Malcolm” and “Malcolm Exercises” tutorial videos
  - Videos detailing installation and configuration
[Speaker Notes: At a configurable interval (defaulting to one day), Zeek will dump summary lists of various entities it has seen over the course of that period. These lists may include SSL certificates, MAC addresses seen communicating over the network, hosts that have performed TCP handshakes, modbus hosts, and TCP services. known_hosts.log, along with conn.log, is an essential part of using Zeek to build a network diagram. Zeek may also generate software.log when it can detect and identify software communicating across the network, and, when possible, will indicate the version of that software. Examples may include identifying Windows operating system versions and clients and servers communicating over HTTP, FTP, SSH, SMTP, and MySQL protocols. This may be particularly useful during an assessment to identify network hosts or devices running software or firmware with known vulnerabilities, and when identifying servers by operating system, type of application running and version]

---
Zeek OT Protocol Parser Sources
- ICSNPP - In-house development at INL for CISA
  - https://github.com/cisagov/icsnpp
- Amazon – Open-source plugins
  - https://github.com/amzn?q=zeek
  - Mostly replaced by ICSNPP at this point
- Zeek - Built-in support
  - Modbus and DNP3 (heavily augmented by ICSNPP)
[Speaker Notes: At a configurable interval (defaulting to one day), Zeek will dump summary lists of various entities it has seen over the course of that period. These lists may include SSL certificates, MAC addresses seen communicating over the network, hosts that have performed TCP handshakes, modbus hosts, and TCP services. known_hosts.log, along with conn.log, is an essential part of using Zeek to build a network diagram. Zeek may also generate software.log when it can detect and identify software communicating across the network, and, when possible, will indicate the version of that software. Examples may include identifying Windows operating system versions and clients and servers communicating over HTTP, FTP, SSH, SMTP, and MySQL protocols. This may be particularly useful during an assessment to identify network hosts or devices running software or firmware with known vulnerabilities, and when identifying servers by operating system, type of application running and version]

---
OT Protocols in Malcolm
- Building Automation and Control (BACnet)
  - HVAC, lighting, access control, fire detection systems, etc.
- Bristol Standard Asynchronous Protocol (BSAP)
  - General use protocol, often used in water, power, chemical, oil and natural gas, communications, etc.
- Distributed Network Protocol 3 (DNP3)
  - Process automation systems mainly in power and water industries
[Speaker Notes: At a configurable interval (defaulting to one day), Zeek will dump summary lists of various entities it has seen over the course of that period. These lists may include SSL certificates, MAC addresses seen communicating over the network, hosts that have performed TCP handshakes, modbus hosts, and TCP services. known_hosts.log, along with conn.log, is an essential part of using Zeek to build a network diagram. Zeek may also generate software.log when it can detect and identify software communicating across the network, and, when possible, will indicate the version of that software. Examples may include identifying Windows operating system versions and clients and servers communicating over HTTP, FTP, SSH, SMTP, and MySQL protocols. This may be particularly useful during an assessment to identify network hosts or devices running software or firmware with known vulnerabilities, and when identifying servers by operating system, type of application running and version]

---
OT Protocols in Malcolm (continued)
- EtherCAT
  - General use protocol, often seen in robotics, machine controls, power plants, wind turbines, manufacturing, etc.
- EtherNet/IP / Common Industrial Protocol (CIP)
  - General use protocol, widely used in many industries including manufacturing, pipeline, processing plants, water/wastewater treatment, etc.
- GENISYS
  - Somewhat obscure protocol used in the railway industry for control of signaling systems and interlockings
[Speaker Notes: At a configurable interval (defaulting to one day), Zeek will dump summary lists of various entities it has seen over the course of that period. These lists may include SSL certificates, MAC addresses seen communicating over the network, hosts that have performed TCP handshakes, modbus hosts, and TCP services. known_hosts.log, along with conn.log, is an essential part of using Zeek to build a network diagram. Zeek may also generate software.log when it can detect and identify software communicating across the network, and, when possible, will indicate the version of that software. Examples may include identifying Windows operating system versions and clients and servers communicating over HTTP, FTP, SSH, SMTP, and MySQL protocols. This may be particularly useful during an assessment to identify network hosts or devices running software or firmware with known vulnerabilities, and when identifying servers by operating system, type of application running and version]

---
OT Protocols in Malcolm (continued)
- Modbus
  - General use protocol, de-facto standard for many industrial applications
- MQ Telemetry Transport (MQTT)
  - Publish/subscribe messaging used in IoT, automotive, logistics, manufacturing, smart home, oil and gas, transportation, etc.
- Open Platform Communications Unified Architecture (OPC UA) Binary
  - Used in industrial automation for data exchange between sensors and cloud applications
[Speaker Notes: At a configurable interval (defaulting to one day), Zeek will dump summary lists of various entities it has seen over the course of that period. These lists may include SSL certificates, MAC addresses seen communicating over the network, hosts that have performed TCP handshakes, modbus hosts, and TCP services. known_hosts.log, along with conn.log, is an essential part of using Zeek to build a network diagram. Zeek may also generate software.log when it can detect and identify software communicating across the network, and, when possible, will indicate the version of that software. Examples may include identifying Windows operating system versions and clients and servers communicating over HTTP, FTP, SSH, SMTP, and MySQL protocols. This may be particularly useful during an assessment to identify network hosts or devices running software or firmware with known vulnerabilities, and when identifying servers by operating system, type of application running and version]

---
OT Protocols in Malcolm (continued)
- Process Field Net (PROFINET)
  - General use protocol seen in many industrial applications
- S7comm / S7comm Plus / Connection Oriented Transport Protocol (COTP)
  - Proprietary protocol used by Siemens PLCs, widely used in power, pipeline, water/wastewater, and more
- Tabular Data Stream (TDS)
  - Protocol used by Microsoft SQL servers and many data historians
[Speaker Notes: At a configurable interval (defaulting to one day), Zeek will dump summary lists of various entities it has seen over the course of that period. These lists may include SSL certificates, MAC addresses seen communicating over the network, hosts that have performed TCP handshakes, modbus hosts, and TCP services. known_hosts.log, along with conn.log, is an essential part of using Zeek to build a network diagram. Zeek may also generate software.log when it can detect and identify software communicating across the network, and, when possible, will indicate the version of that software. Examples may include identifying Windows operating system versions and clients and servers communicating over HTTP, FTP, SSH, SMTP, and MySQL protocols. This may be particularly useful during an assessment to identify network hosts or devices running software or firmware with known vulnerabilities, and when identifying servers by operating system, type of application running and version]

---
OT Protocols in Malcolm – Coming Soon
- PROFINET/IO Context Manager (in development)
  - Manages communication between programmable controllers and IO-supervisors
[Speaker Notes: At a configurable interval (defaulting to one day), Zeek will dump summary lists of various entities it has seen over the course of that period. These lists may include SSL certificates, MAC addresses seen communicating over the network, hosts that have performed TCP handshakes, modbus hosts, and TCP services. known_hosts.log, along with conn.log, is an essential part of using Zeek to build a network diagram. Zeek may also generate software.log when it can detect and identify software communicating across the network, and, when possible, will indicate the version of that software. Examples may include identifying Windows operating system versions and clients and servers communicating over HTTP, FTP, SSH, SMTP, and MySQL protocols. This may be particularly useful during an assessment to identify network hosts or devices running software or firmware with known vulnerabilities, and when identifying servers by operating system, type of application running and version]

---
"Best Guess" Fingerprinting for ICS Protocols
- Uses simple transport protocol, port and MAC address matching to identify potential ICS traffic for protocols without parser support
- Categorized in the ICS Best Guess dashboard
- Use as a pivot point to identify devices or investigate packet payloads in Arkime or Wireshark
- Higher potential for false positives
[Speaker Notes: At a configurable interval (defaulting to one day), Zeek will dump summary lists of various entities it has seen over the course of that period. These lists may include SSL certificates, MAC addresses seen communicating over the network, hosts that have performed TCP handshakes, modbus hosts, and TCP services. known_hosts.log, along with conn.log, is an essential part of using Zeek to build a network diagram. Zeek may also generate software.log when it can detect and identify software communicating across the network, and, when possible, will indicate the version of that software. Examples may include identifying Windows operating system versions and clients and servers communicating over HTTP, FTP, SSH, SMTP, and MySQL protocols. This may be particularly useful during an assessment to identify network hosts or devices running software or firmware with known vulnerabilities, and when identifying servers by operating system, type of application running and version]

---
Data Tagging and Enrichment
Data Tagging and Enrichment
Logstash enriches Zeek log data / MAC addresses to hardware vendor/manufacturer / GeoIP and ASN lookups / Internal/external traffic based on IP ranges / Reverse DNS lookups / DNS query and hostname entropy analysis / Connection fingerprinting (JA3 for TLS, HASSH for SSH, Community ID for flows)	tags field / Populated for both Arkime sessions and Zeek logs with tags provided on upload and words extracted from PCAP filenames / internal_source, internal_destination, external_source, external_destination, cross_segment
[Speaker Notes: Before taking a harder look at the Dashboards and Arkime UIs, let’s talk a moment about fields Logstash can use to enrich log data before it is written to the database. MAC addresses are mapped to hardware manufacturers where possible (to indicate, for example, whether a device was manufactured by Schneider Electric, Schweitzer Engineering or Rockwell Automation) GeoIP, ASN and (optionally) reverse DNS lookups are performed for routable IP addresses Character frequency analysis is performed for DNS responses and some other hostnames to detect DGA (domain generation algorithm) hostnames often used by malware Community-standard fingerprinting algorithms are applied where applicable to allow Malcolm’s data to be cross-referenced with other tools]

---
\
- Front end for Zeek logs and Suricata alerts
- Prebuilt visualizations for all Malcolm-supported protocols
  - General dashboards for high-level views and beginning investigation
  - Protocol-specific dashboards for IT and OT protocols
- Drill down from high-level trends to specific items of interest
Dashboards
[Speaker Notes: Dashboards is one of Malcolm’s two user interfaces for visualizing log data. Where Dashboards really shines is in providing intuitive interactive representations of log data that simplify the process of recognizing and narrowing in on important network events: starting from a high-level overview and being able to quickly “drill-down” to the traffic of an individual host or connection of interest. Malcolm comes with dozens of prebuilt visualizations specifically for data ingested from Zeek logs. Its dashboards fall into two categories: overview dashboards and protocol-specific dashboards. We’ll review some of these in a moment. Aside from its prebuilt offerings, Dashboards provides an easy drag-and-drop WYSIWYG editor for creating new visualizations on the fly.]

---
Front end for enriched Zeek logs, Suricata alerts and Arkime sessions
  - Malcolm’s custom Arkime Zeek data source adds full support for Zeek logs to Arkime, including ICS protocols
- Filter by Zeek logs or Arkime sessions; or, view both together
- “Wireshark at scale”: full PCAP availability for
  - viewing packet payload
  - exporting filtered and joined PCAP sessions
  - running deep-packet searches (“packet grep”)
- Connections view
  - Visualize connections between network hosts
[Speaker Notes: While Dashboards is great for “at-a-glance” views and for creating custom visualizations, Arkime (formerly Moloch) provides another interface for examining network traffic that may be better suited to in-depth analysis and network forensics. Earlier when we talked about the Malcolm PCAP processing pipeline, we mentioned two metadata representations of the same network traffic: the logs generated by Zeek and the session records generated by Arkime’s moloch-capture. While Malcolm’s Dashboards dashboards are focused on the Zeek logs, its instance of Arkime can be used to view both Zeek logs and Arkime sessions together in the same interface. Another strength of Arkime is its ability to tie the session metadata back to the original packets’ payloads, allowing you to view, search and export the data deeper in the PCAP that may not be referenced in the metadata. Arkime is able to efficiently deal with very large PCAP file sets, something that Wireshark struggles to do.]

---
File Analysis
File Analysis
- Zeek can “carve” file transfers in common protocols
- Malcolm examines carved files and flags hits
  - ClamAV – open source antivirus engine
  - YARA – pattern matching swiss army knife
  - Capa – portable executable capabilities analyzer
  - VirusTotal – online database of file hashes
    - requires API token and internet connection
- Triggering files can be automatically saved
  for future investigation
[Speaker Notes: As mentioned earlier, Zeek has the ability to “carve” files from a variety of protocols in observed network traffic. Malcolm leverages this feature to submit these carved files to a number of file scanning tools: ClamAV – an open source antivirus engine to scan for known malware signatures YARA – pattern matching swiss army knife using a curated list of security-related signatures or your own custom signatures Capa – portable executable capabilities analyzer VirusTotal – online database of file hashes (requires API token and internet connection) This can be set globally as the default behavior (by modifying a configuration file in the Malcolm install directory prior to starting up) or on a per-PCAP basis when uploading using the upload web UI interface. Malcolm can be configured to preserve files carved from network traffic (either all files or just “suspicious” ones that trigger the scanning engines) for further examination.]

---
Thank you!
Visit Malcolm on GitHubsupport!
Malcolm is Copyright © 2022 Battelle Energy Alliance, LLC, and is developed and released as open-source software through the cooperation of the Cybersecurity and Infrastructure Security Agency of the US Department of Homeland Security.